HYDROCOLATOR

(Manufactured by ELITE)

Description:-

- Made up off high quality stain less steel.

- Attached with trolley

- Fitted with output valve for water outlet

- Thermostat controlled with on/off indicator.

- Option for Digital/Manual

- Option for 4 pack/8pack